SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Bidwell Junior High School	Building: Unit A (FKA E)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | PIPEWRAP STRAIGHT | 8 | 30-35% | UNDETERMINED | CHAIR STORAGE ROOM | (7) | N/A |
| M | FAN VENT INSULATION | 94 | ASSUMED | UNDETERMINED | FAN ROOMS | (12) COULD NOT FIND THIS ROOM . | N |
| M | TRANSITE PIPE FLUE | 99 | ASSUMED | 1 EACH | KITCHEN AND BOILER ROOM | (1) (4) | N |
| M | DRYWALL | 103 | ASSUMED | UNDETERMINED | KITCHEN - NEAR TRAY WASH | (1) (4) | N |
| M | 9" VFT GREEN | 104 | ASSUMED | UNDETERMINED | MPR, KITCHEN, ADMINISTRATION, COUNSELING, AND NURSES OFFICE | (1) (4) | N |
| T | BOILER | 152 | ASSUMED | 1 UNIT | BOILER ROOM | (1) (4) | Y |
| T | 6" MUDDED FITTINGS | 153 | ASSUMED | 13 EACH | BOILER ROOM | (1) (4) | Y |
| M | BUR UNDER GRAVEL | 501 | NONE DETECTED | 3,000 S | EAST OVERHANG OF MPR | (13) REPRESENTED BY SAMPLES HMS-R1304-35A-C COLLECTED ON 4-5-04. | N/A |
| M | GRAY ROOF MASTIC | 502 | 5-10% CHRYSOTILE | 250 S | EAST OVERHANG OF MPR | (7) REPRESENTED BY SAMPLES 32A & B COLLECTED ON 4-5-04. | N/A |
| S | WALL PLASTER | 503 | NONE DETECTED | UNDETERMINED | THROUGHOUT | (13) | N/A |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Bidwell Junior High School	Building: Unit A (FKA E)

(Continued)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | ROUGH CEILING PLASTER | 506 | ASSUMED | 800 S | STAFF LOUNGE AND ENTRY FOYER | (1) | N |
| M | 12" ACT | 507 | ASSUMED | 4,200 S | MPR | (1) | N |
| T | 3" OD MUDDED FITTINGS | 508 | ASSUMED | 5 EACH | BOILER ROOM | (1) | Y |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Bidwell Junior High School	Building: Unit B (FKA D)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes /No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 9" VFT CREAM | 95 | ASSUMED | UNDETERMINED | LIBRARY | (2) NEEDS REPAIR BY FRONT DOOR AND BACK DOOR | N |
| M | 12" ACT | 109 | ASSUMED | UNDETERMINED | LIBRARY, OFFICES, AND COMPUTER ROOM | (1) (4) | N |
| S | SMOOTH WALL PLASTER | 110 | ASSUMED | UNDETERMINED | THROUGHOUT THE UNIT | (1) (4) | N |
| M | BUR UNDER GRAVEL | 501 | NONE DETECTED | 4,000 S | LIBRARY | (13) REPRESENTED BY SAMPLES HMS-R1304-36A & B COLLECTED ON 4-5-04. | N/A |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Bidwell Junior High School	Building: Units C & D

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | ACOUSTICAL CEILING & UPPER WALL ROUGH PLASTER | 5 | 1-5 % | UNDETERMINED | ALL ROOMS, CLOSET (C), CLASSROOM 204, AND HALLWAY | (1) (4) | N |
| S | ACOUSTICAL CEILING & UPPER WALL ROUGH PLASTER | 6 | 1-5% | UNDETERMINED | HALLWAY | (1) (4) | N |
| M | DRYWALL | 90 | NON ASBESTOS | UNDETERMINED | CLASSROOMS 250 & 406A, CORRIDORS, AND RESTROOMS | (13) REPRESENTED BY SAMPLE HMS-R1304-03 COLLECTED ON 3-30-04. | N/A |
| M | 9" VFT | 95 | ASSUMED | UNDETERMINED | ALL ROOMS, HALLWAY 200, CLASSROOM 250, AND GIRLS RESTROOM | (7) MODERNIZATION APRIL 2006 | N/A |
| M | 12" ACT | 105 | ASSUMED | 4,500 S | CLASSROOMS 105-107, 206, AND 207 | (7) REPLACED WITH NEW ACT. | N/A |
| M | 3" TRANSITE PIPE | 107 | ASSUMED | 10 L | CLOSET OF CLASSROOM 405 | (1) (4) | N |
| M | 12" ACT MASTIC | 151 | ASSUMED | <10 S | CLASSROOM 306 | - EXPOSED MASTIC “PUCKS” IN EAST WALL. COULD NOT FIND “PUCKS” | N |
| M | 9" VFT | 300 | ASSUMED | UNDETERMINED | HALLWAY 300 | (7) MODERNIZATION APRIL 2006 | N/A |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Bidwell Junior High School	Building: Units C & D

(Continued)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 12" VFT TAN | 509 | NON ASBESTOS | 6,765 S | CLASSROOMS 101-107 | (1) (4) MODERNIZATION APRIL 2006 MANUFACTURER’S LETTER ON FILE | N |
| M | 12" VFT ORANGE | 510 | NON ASBESTOS | 4,230 S | CLASSROOMS 201-205 | (1) (4) MODERNIZATION APRIL 2006 MANUFACTURER’S LETTER ON FILE | N |
| M | 12" VFT GREY | 511 | Certified Non-Asbestos | 14,650 S | CLASSROOMS 250, 301-307 AND 401-407 | (13) MODERNIZATION APRIL 2006 MANUFACTURER’S LETTER ON FILE | N |
| M | 12" ACT | 512 | Certified Non-Asbestos | 5,070 S | CLASSROOMS 105-107 AND 206-207 | (13) Letter on File | N |
| M | SPRAYED-ON FLOOR | 513 | Certified Non-Asbestos | 2,535 S | CLASSROOMS 206 & 207 | (13) Letter on file | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

(14) Non AHERA/Not Inspected			    (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Bidwell Junior High School	Building: Unit F (FKA A)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | MUDDED JOINTS | 1 | 1-5% | UNDETERMINED | CLASSROOM 208 NEAR THE SINK | (7) June 2007 | N/A |
| S | ACOUSTICAL CEILING & UPPER WALL PLASTER | 6 | 1-5 % | UNDETERMINED | ALL ROOMS | (7) June 2007 | N/A |
| M | 12" VFT | 93 | NON ASBESTOS | UNDETERMINED | CLASSROOM 208 | (7) ) MODERNIZATION APRIL 2006 MANUFACTURER’S LETTER ON FILE | N/A |
| M | 9" VFT GREEN | 95 | ASSUMED | 1,100 S | OFFICE & CLASSROOM 108 | (7) MODERNIZATION APRIL 2006 | N/A |
| M | TRANSITE PANEL | 98 | ASSUMED | UNDETERMINED | METAL SHOP | (7) June 2007 | N/A |
| M | 2' X 4' FCP’S | 102 | ASSUMED1-5 %900 S SAssumed | UNDETERMINED | CLASSROOM 108 | (7) June 2007 | N/A |
| M | 12" VFT | 104 | NON ASBESTOS | UNDETERMINED | OFFICE IN CLASSROOM 109 | (7) MODERNIZATION APRIL 2006 MANUFACTURER’S LETTER ON FILE | N/A |
| M | 12" ACT | 105 | ASSUMED | UNDETERMINED | CLASSROOM 209 | (7) June 2007 | N/A |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Bidwell Junior High School	Building: Unit F (FKA A)

(Continued)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | DRYWALL & JOINT COMPOUND | 514 | Certified Non-Asbestos | 3,400 S | PERIMETER WALLS - THROUGHOUT | (13) Letter on file | N |
| M | SPRAYED-ON FLOOR | 515 | Certified Non-Asbestos | 5,040 S | THROUGHOUT | (13) Letter on file | N |
| M | 12" ACT | 516 | Certified Non-Asbestos | 5,040 S | THROUGHOUT | (13) Letter on file | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Bidwell Junior High School	Building: Unit I (FKA B)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | MUDDED JOINTS | 1 | 1-5% | UNDETERMINED | CLASSROOMS 408 & 409 | (7) Removed 2006 | N/A |
| M | ACOUSTICAL CEILING & UPPER WALL PLASTER | 6 | 1-5% | UNDETERMINED | ALL CLASSROOMS | (7) Removed 2006 | N/A |
| M | 2' X 4' FCP’S | 106 | NONE DETECTED | UNDETERMINED | CLASSROOMS 308, 309, 408, 408A, AND 409 | (7) REPRESENTED BY SAMPLES HMS-R1304-40A & B COLLECTED ON 4-5-04. | N/A |
| M | GYPSUM BOARD & JOINT COMPOUND | 154 | ASSUMED | 300 S | THROUGHOUT | (7) Removed 2006 | N/A |
| M | 9" VFT | 300 | ASSUMED | UNDETERMINED | ALL CLASSROOMS | (7) Removed 2006 – MODERNIZATION APRIL 2006 | N/A |
| S | WALL PLASTER | 500 | NONE DETECTED | 350 S | GIRL’S RESTROOM | (13) REPRESENTED BY SAMPLE HMS-R1304-02 COLLECTED ON 3-30-04. | N/A |
| M | 12" VFT GREY | 517 | Certified Non-Asbestos | 5,248 S | CLASSROOMS 308, 309, 408, AND 409 | (13) Letter on file MODERNIZATION APRIL 2006 | N |
| M | DRYWALL | 518 | Certified Non-Asbestos | 200 S | WASHROOM | (13) Letter on file | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09______

District: Chico Unified School District		Inspector: Dale Hayes

School: Bidwell Junior High School		Building: Unit J (FKA F)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 9" VFT | 95 | ASSUMED | UNDETERMINED | ALL ROOMS | (7) Removed 2006 – MODERNIZATION APRIL 2006 | N/A |
| M | DRYWALL | 100 | 1% | UNDETERMINED | ALL ROOMS | (7) Removed 2006 | N/A |
| M | 12" ACT | 108 | None Detected | UNDETERMINED | CLASSROOMS 501& 502, OFFICE, AND PRACTICE ROOMS | (13) | N |
| T | DUCT INSULATION | 109 | 90-95% | UNDETERMINED | DUCT WORK-CEILING AND WALLS | (7) | N/A |
| M | BUR UNDER GRAVEL | 501 | NONE DETECTED | 200 S | NORTH END, SOUTH END, AND MIDDLE | (13) REPRESENTED BY SAMPLES 34A-C COLLECTED ON 4-5-04. .N/A | N/A |
| M | GRAY ROOF MASTIC | 502 | 5-10% CHRYSOTILE | 3,200 S | EXHAUST FAN ROOF JACK | (1) (4) REPRESENTED BY SAMPLES 32A & B COLLECTED ON 4-5-04. | N |
| M | 12" VFT GREY | 519 | Certified Non-Absetos | 3,420 S | ALL ROOMS | (1) Letter on file MODERNIZATION APRIL 2006 | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09______

District: Chico Unified School District	                                                                                          	                                                                                      	  	Inspector: Dale Hayes

School: Bidwell Junior High School		Building: Unit K (FKA G)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | PIPE INSULATION & MUDDED FITTINGS | 14 | NONE DETECTED | UNDETERMINED | PE BOILER ROOM & TUNNEL | (7) REPRESENTED BY SAMPLES HMS-R1304-38A-G COLLECTED ON 4-13-04. | N/A |
| T | TANK WRAP | 15 | NONE DETECTED | UNDETERMINED | PE BOILER ROOM | (7) REPRESENTED BY SAMPLES HMS-R1304-39A-G COLLECTED ON 4-13-04 | N/A |
| M | TRANSITE PANELS | 98 | ASSUMED | UNDETERMINED | PANELS IS BOTH LOCKER ROOMS | (12) COULD NOT LOCATE. | N |
| M | BUR UNDER GRAVEL | 501 | NONE DETECTED | 250 S | BOY’S AND GIRL’S LOCKER ROOM | (7) REPRESENTED BY SAMPLES HMS-R1304-31A-C AND 33A-C COLLECTED ON 4-5-04. | N/A |
| S | WALL PLASTER | 504 | NONE DETECTED | 5,000 S | COACHES ROOM 112 | (13) REPRESENTED BY SAMPLE HMS-R1304-01 COLLECTED ON 3-30-04. | N/A |
| T | BOILER INSULATION | 505 | ASSUMED | 20 S | BOILER ROOM | (7) | N/A |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: _10/01/09______

District: Chico Unified School District	   	Inspector: Dale Hayes

School: Bidwell Junior High School		Building: Unit L (FKA H)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | PIPE RUN INSULATION | 17 | 15-20% | 310 L | GYM, STOREROOM, AND BOILER ROOM | (1) (4) SAMPLE HMS-BID-17B COLLECTED ON 9/15/87. | Y |
| T | PIPE FITTING INSULATION | 18 | 5-10% | 28 EACH | GYM, BOILER ROOM, AND STOREROOM | (1) (4) SAMPLE HMS-BID-18B COLLECTED ON 9/15/87. | Y |
| M | 12" ACT | 111 | ASSUMED | UNDETERMINED | GYM | (2) SOME TILES HAVE BEEN REMOVED. THE MASTIC IS SHOWING. THE WALLS ARE CONCRETE & THE CEILING IS CONCRETE. | N |
| T | BOILER INSULATION | 520 | ASSUMED | 1 BOILER | BOILER ROOM | (9) | Y |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:			(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

(14) Non AHERA/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS