SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: __10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Junior High School	Building: A - (AKA Multipurpose Room)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | CEILING PLASTER | 8 | 1-5% | UNDETERMINED | TEACHER’S DINING ROOM, MPR, AND REST OF THE WING | (1) (4) (13) ENTRY REPLACED WITH SHEETROCK, NOT PLASTER IN 1999 | N |
| M | DRYWALL | 106 | ASSUMED | UNDETERMINED | THROUGHOUT UNIT - ALL WALLS AND KITCHEN CEILING | (1) (4) | N |
| M | NON-SLIP LINOLEUM | 107 | ASSUMED | 2,200 S | KITCHEN AND KITCHEN OFFICE | (1) | N |
| M | 12" VFT BLUE | 108 | NON ASBESTOS | 5,570 S | MPR AND STAFF DINNING | (1) (4) MODERNIZATION PROJECT 1999 MANUFACTURER LETTER ON FILE | N |
| S | TEXTURE | 109 | ASSUMED | 1,400 S | NURSE OFFICE AND CONFERENCE ROOM | (1) (4) | N |
| M | 12" VFT GREY | 110 | NON ASBESTOS | 200 S | NURSE OFFICE | (1) (4) MODERNIZATION PROJECT 1999 MANUFACTURER LETTER ON FILE | N |
| M | LINOLEUM | 111 | ASSUMED | 25 S | NURSE RESTROOM | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:  (11) Inaccessible, no inspection data      (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: __10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Junior High School	Building: C - (AKA Classrooms 200, 202, 204, 206, & 208)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | CEILING PLASTER | 8 | 1-5% | 300 S | TITLE ONE OFFICE | (1) (4) | N |
| M | TRANSITE PANELS | 96 | ASSUMED | 640 S | EXTERIOR OF UNIT | (1) (4) | N |
| M | 12" VFT CREAM | 97 | NON ASBESTOS | 4,000 S | ALL CLASSROOMS | (1) (4) MODERNIZATION PROJECT 1999 MANUFACTURER LETTER ON FILE (11) TITLE ONE OFFICE COVERED WITH CARPET. | N |
| M | 2' X 4' FCP | 99 | ASSUMED | 4,000 S | THROUGHOUT CLASSROOM WING | (2) ROOM 200 BROKEN | N |

CONDITION CODE

General Condition  (1) Good  (2)  Damaged  (3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:  (11) Inaccessible, no inspection data   (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: __10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Junior High School	Building: D - (Classrooms 300, 302, 304, & 306)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 9" VFT RED | 2 | 1-5% | 70 S | JANITOR’S CLOSET (ROOM 310) | (1) (4) | N |
| S | CEILING PLASTER | 8 | 1-5% | 300 S | JANITOR’S CLOSET (ROOM 310) AND GIRL’S RESTROOM | (1) (4) | N |
| M | TRANSITE PANELS | 96 | ASSUMED | 640 S | EXTERIOR OF UNIT | (1) (4) | N |
| M | 12" VFT CREAM | 97 | NON ASBESTOS | 4,000 S | CLASSROOMS 300, 302, 304, 306, & 308 | (1) (4) MODERNIZATION PROJECT 1999 MANUFACTURER LETTER ON FILE | N |
| M | 2' X 4' FCP | 99 | ASSUMED | 4,000 S | THROUGHOUT CLASSROOMS | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:  (11) Inaccessible, no inspection data    (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: __10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Junior High School	Building: E - (Classrooms 400, 402, 404, 406, & 408)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | CEILING PLASTER | 112 | ASSUMED | 175 S | PSYCHOLOGIST OFFICE & STAFF RESTROOM | (1) | N |
| M | TRANSITE PANELS | 113 | ASSUMED | 640 S | EXTERIOR | (1) | N |
| M | 12" VFT CREAM | 114 | NON ASBESTOS | 4,000 S | ALL CLASSROOMS | (1) MODERNIZATIN PROJECT 1999 (11) CLASSROOM 402 AND PSYCHOLOGIST OFFICE ARE COVERED WITH CARPET. MANUFACTURER LETTER ON FILE | N |
| M | 2' X 4' FCP | 115 | ASSUMED | 4,000 S | ALL CLASSROOMS | (1) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:  (11) Inaccessible, no inspection data      (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: __10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Junior High School	Building: F - (AKA Classrooms  500, 502, 504, & 506)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 9" VFT RED | 2 | 1-5% | 70 S | MIGRANT EDUCATION OFFICE | (1) (4) | N |
| S | CEILING PLASTER | 8 | 1-5% | 175 S | MIGRANT EDUCATION OFFICE’S & GIRL’S RESTROOM | (1) (4) | N |
| T | PIPE WRAP STRAIGHT | 26 | 40-45% | UNDETERMINED | CLASSROOM 502 | (11) | Y |
| T | PIPE WRAP STRAIGHT | 95 | ASSUMED | UNDETERMINED | CLASSROOM 506 | (11) | Y |
| M | TRANSITE PANELS | 96 | ASSUMED | 640 S | EXTERIOR OF UNIT | (1) (4) | N |
| M | 12" VFT | 98 | NON ASBESTOS | 4,000 S | CLASSROOMS 500, 502, 504, & 506 | (1) (4) MODERNIZATION PROJECT 1999 MANUFACTURER LETTER ON FILE | N |
| M | 2' X 4' FCP | 116 | ASSUMED | 4,000 S | ALL CLASSROOMS | (1) (2) (4) ROOM 504 | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:  (11) Inaccessible, no inspection data      (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: __10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Junior High School	Building: G - (AKA Maintenance)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | BOILER REFRACTORY | 100 | ASSUMED | UNDETERMINED | TWO BOILER UNITS | (1) (4) | Y |

School: Chico Junior High School	Building: H & N - (AKA 501-Industrial Arts/Wood Shop &

503 & 505 -Durst Theater & Music Room)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 12" ACT | 17 | NONE DETECTEDDDDD | UNDETERMINED | WOOD SHOP, DURST THEATER, MUSIC CLASSROOM, & PRACTICE CLASSROOMS 1-5 | - SAMPLE HMS-CJH-17 COLLECTED IN 1988. | N/A |
| M | TRANSITE PANELS | 96 | ASSUMED | UNDETERMINED | EXTERIOR OF UNIT | (1) (4) | N |
| M | 12" VFT CREAM | 97 | NON ASBESTOS | UNDETERMINED | COMPUTER ROOM, MATERIAL STORAGE, STORAGE, & STAFF OFFICE, DURST THEATER, OFFICES, MUSIC CLASSROOM, AND PRACTICE CLASSROOMS 1-5 | (1) (4) MODERNIZATION PROJECT MANUFACTURER LETTER ON FILE | N |
| S | CEILING PLASTER | 117 | ASSUMED | 600 S | OFFICES AND STORAGE ROOMS | (1) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:  (11) Inaccessible, no inspection data      (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: __10/0/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Junior High School	Building: J (AKA Main Office Building)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | CEILING PLASTER | 8 | 1-5% | UNDETERMINED | LIBRARY | (1) (4) | N |
| M | 12" VFT GREY | 97 | NON ASBESTOS | UNDETERMINED | ADMINISTRATION OFFICES, HALLWAY, AND LIBRARY | (1) (4) MODERNIZATION 1999 MANUFACTURER LETTER ON FILE | N |
| M | DRYWALL | 101 | Certified Non-Asbestos | UNDETERMINED | THROUGHOUT UNIT AND LIBRARY | (13) NEW DRYWALL WAS PUT INTO THIS UNIT DURING THE RENOVATION IN THE SUMMER OF 2000. (13) Letter on File | N |
| S | TEXTURE | 118 | ASSUMED | UNDETERMINED | THROUGHOUT UNIT | (1) | N |

School: Chico Junior High School	Building: K - (AKA Classrooms 201, 203, 205, 207, 209, & 211)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | TRANSITE PANELS | 96 | ASSUMED | 700 S | EXTERIOR OF UNIT | (1) (4) | N |
| M | 2' X 4' FCP | 99 | Certified Non-Asbestos | 4,800 S | THROUGHOUT CLASSROOMS | (1) (4) RENOVATED DURING THE SUMMER OF 2000. (13) Letter on File | N |
| M | 12" VFT LIGHT GREY | 102 | Certified Non-Asbestos | 4,800 S | THROUGHOUT CLASSROOMS | (13) RENOVATED DURING THE SUMMER OF 2000. (13) Letter on File. | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:  (11) Inaccessible, no inspection data       (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: __10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Junior High School	Building: L - (AKA Classrooms 301, 303, 305, 307, 309, & 311)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | TRANSITE PANELS | 96 | ASSUMED | 700 S | EXTERIOR OF UNIT | (1) (4) | N |
| M | 2' X 4' FCP | 99 | Certified Non-Asbestos | 4,800 S | THROUGHOUT CLASSROOMS | (13) RENOVATED DURING THE SUMMER OF 2000. (13) Letter on File | N |
| M | 12" VFT LIGHT GREY | 103 | Certified Non-Asbestos | 4,800 S | THROUGHOUT CLASSROOMS | (13) RENOVATED DURING THE SUMMER OF 2000. (13) Letter on File | N |

School: Chico Junior High School	Building: M - (AKA Classrooms 401, 403, 405, 407, & 409)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | TRANSITE PANELS | 96 | ASSUMED | 700 S | EXTERIOR OF UNIT | (1) (4) | N |
| M | 2' X 4' FCP | 99 | Certified Non-Asbestos | 4,800 S | THROUGHOUT CLASSROOMS | (13) RENOVATED DURING THE SUMMER OF 2000. (13) Letter on file | N |
| M | 12" VFT LIGHT GREY | 103 | Certified Non-Asbestos | 4,800 S | THROUGHOUT CLASSROOMS | (13) RENOVATED DURING THE SUMMER OF 2000. (13) Letter on file. | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:  (11) Inaccessible, no inspection data      (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: __10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Junior High School	Building: O - (AKA Gymnasium)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 9" VFT GREEN | 5 | 1-5% | 140 S | RESTROOMS | (7) Removed 2007 | N |
| M | 12" CEILING TILE | 119 | ASSUMED | 5,000 S | GYM | (1) (4) | N |
| S | STUCCO | 120 | NONE DETECTED | 400 S | CORRIDOR | (13) TESTED BY ENTEK, MAY 2007 | N |
| M | DRYWALL AND JOINT COMPOUND | 121 | NONE DETECTED | 650 S | RESTROOM | (13) TESTED BY ENTEK, JUNE 2007 | N |
| S | TEXTURE | 122 | NONE DETECTED | 650 S | RESTROOM | (13) TESTED BY ENTEK, JUNE 2007 | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:  (11) Inaccessible, no inspection data      (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM MATERIAL RECORDS

Date of Inspection: __10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Junior High School	Building: P - (AKA PE Locker Rooms)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes / No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 9" VFT GREEN | 5 | 1-5% | UNDETERMINED | CLASSROOM 18 STORAGE | (11) COULD NOT FIND DURING TIME OF INSPECTION. | N |
| T | PIPE WRAP | 105 | ASSUMED | UNDETERMINED | IN CEILING PIPE CHASE | (10) | Y |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)       (13)  Non-Asbestos/Not Inspected

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:  (11) Inaccessible, no inspection data      (12) Other (Explain under comments)       (13)  Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS