SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Senior High School	Building: A

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 2' X 4' FCP | 1 | NONE DETECTED | 5,735 S | ADMINISTRATION AREA | - SAMPLE HMS-CHS-01 COLLECTED ON 3-28-88. | N/A |
| M | 12" VFT BEIGE | 2 | TRACE | 5,700 S | RECEPTION AREA | (1) (4) | N |
| M | 12" ACT | 3 | NONE DETECTED | 3,550 S | PRINCIPLES OFFICE, COMPTROLLER, 120, AND CLASSROOMS 102-107 | - SAMPLE HMS-CHS-03 COLLECTED ON 3-28-88. | N/A |
| T | MUD JOINTS | 7 | 5-10% | 20 JOINTS | DARK ROOM ATTIC (CLASSROOM 111) | (11) | Y |
| T | MESH WRAP | 8 | 12-20% | ½ L | DARK ROOM ATTIC (CLASSROOM 111) | - INACCESSIBLE. | Y |
| M | TRANSITE PANELS | 95 | ASSUMED | 1,300 S | ALONG WALKWAYS, JANITORS CLOSETS, RESTROOMS, AND STAIRWELLS | (1) (4) PANELS PAINTED WHITE 11/19/03. | N |
| M | DRYWALL & JOINT COMPOUND | 166 | None Detected | UNDETERMINED | THROUGHOUT INTERIOR WALLS | (13) CUSD sample CHS01 – 05 dated 12/27/06. | N/A |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Senior High School	Building: A Upstairs

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 12" VFT BEIGE | 2 | TRACE | 5,800 S | UPSTAIRS CLASSROOMS | (1) (4) | N |
| M | 2' X 4' FCP | 6 | NONE DETECTED | 10,000 S | UPSTAIRS CLASSROOMS | - SAMPLE HMS-CHS-06 COLLECTED ON 3-28-88. | N/A |
| M | DRYWALL & JOINT COMPOUND | 167 | ASSUMED | UNDETERMINED | THROUGHOUT INTERIOR WALLS | (1) DISTRICT MUST CERTIFY | N |
| M | Elevator addition in 2007 |  | Certified Non-Asbestos |  |  | (13) Letter on file |  |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Senior High School	Building: B

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 2' X 4' FCP | 13 | NONE DETECTED | 10, 000 S | ALL CLASSROOMS | - SAMPLE HMS-CHS-13 COLLECTED ON 3-28-88. | N/A |
| M | TRANSITE PANELS | 95 | ASSUMED | 1,300 S | ALONG WALKWAYS, JANITORS CLOSETS, RESTROOMS, AND STAIRWAYS | (1) (4) PANELS PAINTED WHITE 11/19/03. | N |
| M | 12" VFT TAN | 152 | CERTIFIED ASBESTOS FREE | 9,430 S | THROUGHOUT | (13) CERTIFICATION LETTER ON FILE. MODERNIZATION 2003 | N/A |
| M | DRYWALL & JOINT COMPOUND | 168 | ASSUMED | UNDETERMINED | THROUGHOUT | (1) DISTRICT MUST CERTIFY | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Senior High School	Building: C

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 12" VFT | 14 | 1-5% | 9,513 S | CLASSROOMS 1-11 | (7) ABATED IN JUNE, 2003 ACCORDING TO CHICO USD RECORDS. MODERNIZATION 2003 | N |
| M | TRANSITE PANELS | 95 | ASSUMED | 1,300 S | EXTERIOR OF BUILDING | (1) (4) PANELS PAINTED WHITE 11/19/03. | N |
| M | 12" VFT TAN | 150 | CERTIFIED ASBESTOS FREE | 9,513 S | CLASSROOMS 1-11 | (13) LETTER IN FILE AS OF 6/2005. MODERNIZATION 2003 | N/A |
| M | DRYWALL & JOINT COMPOUND | 169 | ASSUMED | UNDETERMINED | THROUGHOUT | (1) DISTRICT MUST CERTIFY | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Senior High School	Building: D & H

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | PLASTER | 38 | 1-5% | 300 S | 934 & 935 (FKA INSTRUMENT STORAGE ROOM & MUSIC STORAGE), AND BAND ROOM OFFICE | (1) (4) TROWELED ON CEILING. | N |
| M | 9" VFT YELLOW | 39 | 5-10% | 1,410 S | MUSIC WING HALL, CHORAL ROOM UNDER RISERS, BAND ROOM OFFICE, & CHORAL ROOM STORAGE | (7) | N/A |
| M | 12" VFT TAN | 150 | CERTIFIED ASBESTOS FREE | 1,200 S | MUSIC WING HALL | (13) CERTIFICATION LETTER ON FILE AS OF 6/2005. MODERNIZATIO 2003 | N/A |

School: Chico Senior High School	Building: L

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 2' X 4' FCP | 17 | NONE DETECTED | 11,155 S | ALL ROOMS | (13) SAMPLE HMS-CHS-17 COLLECTED ON 3-28-88. | N/A |
| T | MUD JOINTS | 19 | 5-10% | 20 JOINTS | LIBRARY ATTIC | (11) | Y |
| M | 12" VFT MOTTLED | 151 | CERTIFIED ASBESTOS FREE | 850 S | LIBRARY ENTRANCE/OFFICE | (13) CERTIFICATION LETTER ON FILE AS OF 6/2005. MODERNIZATION 2003 | N/A |
| M | DRYWALL & JOINT COMPOUND | 170 | ASSUMED | UNDETERMINED | THROUGHOUT | (1) | N |

CONDITION CODE

General Condition:  (1) Good (2)  Damaged  (3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No	(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __10/01/09______

District: Chico Unified School District	Inspector: Dale Hayes

School: Chico Senior High School	Building: F

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | MUD JOINTS | 52 | 5-10% | 125 JOINTS | FINE ARTS | (12) | Y |
| M | 2' X 4' FCP | 59 | NONE DETECTED | 4,500 S | CLASSROOMS 1-5 | - SAMPLE HMS-CHS-59 COLLECTED ON 3-28-88. | N/A |
| T | MUD JOINTS | 60 | 5-10% | 12 L | CLASSROOM 1 | (12) COULD NOT LOCATE | Y |
| M | 9" VFT | 61 | TRACE | 4,500 S | ALL CLASSROOMS | (7) REMOVED DURING 2004 MODERNIZATION. | N/A |
| M | TRANSITE PANELS | 95 | ASSUMED | 150 S | 2 KILNS | (7) REMOVED DURING 2004 MODERNIZATION. | N/A |
| M | KILN BRICK, TAN | 151 | NONE DETECTED | 10.5 S | INSIDE OLDER TRANSITE PANELS ENCASED KILN | (13) SAMPLE HMS-R1303-01A COLLECTED ON 4-13-04. | N/A |
| M | KILN BRICK, WHITE | 152 | NONE DETECTED | 10.5 S | LARGER OLDER TRANSITE PANEL ENCASED KILN | (13) SAMPLE HMS-R1303-02A COLLECTED ON 4-13-04. | N/A |
| M | KILN BRICK, WHITE | 153 | NONE DETECTED | 10.5 S | METAL ENCASED CRESS ELECTRIC KILN MODEL A-22-H | (13) SAMPLE HMS-R1303-03A COLLECTED ON 4-13-04. | N/A |
| M | KILN BRICK | 154 | NONE DETECTED | 10.5 S | SMALL KILN APPROXIMATELY 2' HIGH BY 14" SQUARE WITH B-19 ON SIDE | (13) SAMPLE HMS-R1303-04A COLLECTED ON 4-13-04. | N/A |
| M | KILN BRICK | 155 | NONE DETECTED | 10.5 S | 3' SQUARE KILN | (13) SAMPLE HMS-R1303-05A COLLECTED ON 4-13-04. | N/A |
| S | STUCCO | 156 | <1% CHRYSOTILE | 220 S | EXTERIOR WALL AT SOUTH SIDE OF CERAMICS LAB ROOM 505 | (1) (4) SAMPLE HMS-R1303-06A COLLECTED ON 4-13-04. | N |
| M | VINYL COVERED TAGBOARD | 157 | NONE DETECTED | 800 S | CERAMICS LAB ROOM 505D | (13) SAMPLE HMS-R1303-07A COLLECTED ON 4-13-04. | N/A |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __01/24/2009______

District: Chico Unified School District	Inspector: Leroy Christophersen

School: Chico Senior High School	Building: S

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 2' X 4' FCP | 22 | NONE DETECTED | 8,000 S | ROOMS 1-7 | (13) SAMPLE HMS-CHS-22 COLLECTED ON 3-28-88. | N/A |
| T | MUD JOINTS | 23 | 5-10% | 40 JOINTS | ROOMS 1-7 | (12) | Y |
| M | 9" VFT | 24 | 1-5% | 8,100 S | SCIENCE LAB/STORAGE | (1) (4) | N |
| T | PIPE WRAP STRAIGHT | 26 | 65-70% | 12 L | ROOM 5 (STORE ROOM) | (7) REMOVED IN 2004. | N/A |
| M | BLACK COUNTER TOPS | 99 | ASSUMED | UNDETERMINED | IN ALL SCIENCE ROOMS | (7) REPLACED ON 6/14/04. | N/A |
| M | 12" VFT TAN | 171 | NON ASBESTOS | 8,000 S | ALL ROOMS EXCEPT SCIENCE LAB/STORAGE | (1) (4) MODERNIZATION 2004 MANUFACTURER LETTER ON FILE | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __01/24/2009______

District: Chico Unified School District	Inspector: Leroy Christophersen

School: Chico Senior High School	Building: LH

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | PIPEWRAP STRAIGHT | 45 | 35-40% | 3 L | CUSTODIAL ROOM | (1) (4) | Y |
| T | MUD JOINTS | 52 | 5-10% | 10 EACH | UNDER STAGE 939 | (10) | Y |
| M | 9" VFT GREY | 55 | 1-5% | 6,800 S | 943-KITCHEN & 940-MPR | (2) CRACKED & MISSING TILES IN THE KITCHEN, STAFF ROOM. | N |
| S | PLASTER | 57 | 1-5% | 900 S | ROOMS 940-951 | (1) (4) PAINTED TROWELED ON CEILING. | N |
| M | TRANSITE PANELS | 95 | ASSUMED | 364 S | 951-SNACK BAR, 939-STAGE, AND CAFE | (1) (4) | N |
| M | 9" VFT | 101 | ASSUMED | 250 S | ON STAGE-939 | (1) (6) | N |
| T | MUD JOINTS | 102 | 5-10% | 4 JOINTS | 942-TEACHER’S LOUNGE RESTROOMS | (1) (4) | Y |
| M | TRANSITE PIPE FLUE | 103 | ASSUMED | 12 L | 945-WATER HEATER ROOM (2 PIPES) | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __01/24/2009______

District: Chico Unified School District	Inspector: Leroy Christophersen

School: Chico Senior High School	Building: LH

(Continued)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 12" VFT | 172 | NON ASBESTOS | 36 S | KITCHEN OFFICE AND SUPPLY ROOM | (1) MANUFACTURER LETTER ON FILE MODERNIZATION 2003 | N |
| M | LINOLEUM | 173 | ASSUMED | 30 S | KITCHEN RESTROOM | (1) | N |
| M | DRYWALL & JOINT COMPOUND | 174 | ASSUMED | UNDETERMINED | THROUGHOUT | (1) | N |
| M | 12" ACT | 175 | ASSUMED | UNDETERMINED | THROUGHOUT | (1) | N |
| M | WHITE LINOLEUM | 176 | NONE DETECTED | 300 S | ON COLUMNS | (2) (13) SAMPLE ECG-07-465-02A COLLECTED ON 5-11-07. | N/A |
| M | 12" VFT BEIGE | 177 | NONE DETECTED |  | UNDER KITCHEN DISHWASHER | (13) SAMPLE CUSD CHS01 COLLECTED ON 6-0-06. MODERNIZATION 2003 | N/A |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __01/24/2009______

District: Chico Unified School District	Inspector: Leroy Christophersen

School: Chico Senior High School	Building: GYM

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | WALLS & CEILING PLASTER | 46 | NONE DETECTED | 2,000 S | ALL ROOMS EXCEPT BOILER | (13) SAMPLE HMS-CHS-46A-C COLLECTED ON 3-28-88. ADDITIONAL SAMPLES HMS-93103-03A-C COLLECTED ON 7-8-93. | N/A |
| T | PIPEWRAP STRAIGHT | 50 | 50-55% | 2,700 S | GIRL’S & BOY’S LOCKER ROOM AND BOILER ROOM CRAWL SPACES | (10) ISOLATED & RESTRICTED | Y |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __01/24/2009______

District: Chico Unified School District	Inspector: Leroy Christophersen

School: Chico Senior High School	Building: IA (FKA IT-1000)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | PIPEWRAP STRAIGHT | 45 | 35-40% | 700 L | AUTO SHOP, LOFT, AND WOOD SHOP | (7) REMOVED IN 2004. | N/A |
| T | BREECHING INSULATION | 90 | 15-20% AMOSITE | 100 S | WOOD FINISHING ROOM | (7) REMOVED IN 2004. REPRESENTED BY SAMPLES HMS-R1303-09A & B COLLECTED ON 4-13-04. | N/A |
| M | 9" VFT TAN | 152 | ASSUMED | 1,800 S | HALLWAYS AND CLASSROOMS IT2 & IT6 | (7) REMOVED IN 2004. | N/A |
| M | DRYWALL & JOINT COMPOUND | 158 | <1% CHRYSOTILE (COMPOSITE) | 400 S | NORTH & SOUTH WALL OF PROJECT AND HAM ROOMS OFF ELECTRONICS, SOUTH WEST CORNER WALL OF NORTH OFFICE BY RESTROOMS, OFFICE BY TOILET ROOM TO MECHANICAL DRAWING, AND FINISH ROOM | (7) REMOVED IN 2004. SAMPLES HMS-R1303-10A-E COLLECTED ON 4-13-04. DRYWALL - NONE DETECTED, JOINT COMPOUND - 1-2% CHRYSOTILE, AND COMPOSITE - <1% CHRYSOTILE . | N/A |
| M | WHITE DOOR INSULATION | 159 | 10-15% CHRYSOTILE 10-15% AMOSITE | 40 S | PROJECT AND HAM ROOM | (7) REMOVED IN 2004. SAMPLE HMS-R1303-11A COLLECTED ON 4-13-04. | N/A |
| S | UPPER WALL PLASTER | 165 | NONE DETECTED | UNDETERMINED | TOILET ROOM | (7) REMOVED IN 2004. SAMPLES HMS-R1303-08A-C COLLECTED ON 4-13-04. | N/A |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __01/24/2009______

District: Chico Unified School District	Inspector: Leroy Christophersen

School: Chico Senior High School	Building: AG-1100

| Material Class | Material | Homo Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | WALL PLASTER | 46 | 1-5% | 950 S | CLASSROOM 2 | (1) (4) | N |
| M | TRANSITE PANELS | 48 | 15-20% | 200 S | CLASSROOM 1 WELD BOOTHS & TABLES | (7) REMOVED IN 2004 MODERNIZATION. | N/A |
| M | 12" VFT MOTTLED & YELLOW MASTIC | 89 | NONE DETECTED | 400 S | CLASSROOM 2 | (13) REPRESENTED BY SAMPLE HMS-R1303-12A COLLECTED ON 4-13-04. | N |
| M | TRANSITE PIPES | 96 | ASSUMED | 12 L | CLASSROOM 1 (2 PIPES) | (7) REMOVED IN 2004. | N/A |
| M | WALL PLASTER | 160 | NONE DETECTED | 150 S | SOUTH WEST CORNER AREA BY DOOR OF TOILET ROOM OF CLASSROOM 1 | (13) SAMPLE HMS-R1303-15A COLLECTED ON 4-13-04. | N/A |
| S | STUCCO | 161 | NONE DETECTED | UNDETERMINED | EXTERIOR SOUTH ENTRY DOOR AND EAST WALL BY COKE MACHINE | (13) SAMPLES HMS-R1303-16A & B COLLECTED ON 4-13-04. | N/A |
| M | LINOLEUM LIKE COUNTER TOP W/ASPHALT LIKE BACKING - GREEN | 162 | NONE DETECTED | UNDETERMINED | CLASSROOM 3 | (13) SAMPLE HMS-R1303-17A COLLECTED ON 4-13-04. | N/A |
| M | BROWN COLORED GLOSS LIKE FLOOR FINISH | 163 | NONE DETECTED | UNDETERMINED | HALLWAY BY CLASSROOM 2 | (13) SAMPLE HMS-R1303-13A COLLECTED ON 4-13-04. | N/A |
| M | GREEN COLORED GLOSS LIKE FLOOR FINISH | 164 | NONE DETECTED | UNDETERMINED | TOILET ROOM OFF CLASSROOM 1 | (13) SAMPLE HMS-R1303-14A COLLECTED ON 4-13-04. | N/A |

CONDITION CODE

General Condition: (1) Good (2)  Damaged  (3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No	(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS	Date of Inspection: __01/24/2009______

District: Chico Unified School District	Inspector: Leroy Christophersen

School: Chico Senior High School	Building: 20 Portable Classrooms and 2 Portable Restrooms on West Campus

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | PORTABLE CLASSROOMS PC1-PC17 AND 2 PORTABLE RESTROOMS | CERTIFICATION LETTER ON FILE. |  |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS