SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection:__09/30/09__

District:  Chico Unified School District                                                                                                                Inspector: Dale Hayes

School: Fair View High School (FKA Partridge Elementary School)	Building: C - Classrooms 3-6 (FKA A)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 9" VFT | 4 | 1-5% | 4,500 S | CLASSROOMS 3-6 AND STAFF ROOM | (1) (2) ROOM 6 NEEDS WAX | N |
| S | ACOUSTIC CEILING PLASTER | 5 | 1-5% | 5,000 S | CLASSROOMS 3-6 AND STAFF ROOM | (1) | N |
| M | TRANSITE PANELS | 60 | ASSUMED | 8 PANELS | UNDER ENTRY WINDOWS, UNIT D | (1) | N/A |

School:  Fair View High School (FKA Partridge Elementary School)	Building: D - Restrooms & Custodial Room (FKA A)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | ACOUSTIC CEILING PLASTER | 5 | 1-5% | 1,000 S | RESTROOMS, CUSTODIAL ROOMS, AND BOILER ROOM | (1) (4) | N |
| T | LARGE MUD JOINT | 6 | ASSUMED | 22 JOINTS | BOILER ROOM | (12) PIPEWRAP DAMAGE NOT ASBESTOS MATERIAL | N |
| T | SMALL MUD JOINT | 7 | ASSUMED | 26 JOINTS | BOILER ROOM | SAME AS ABOVE | N |
| S | WALL PLASTER | 31 | ASSUMED | 400 S | RESTROOMS | (1) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection:__09/30/09__

District:  Chico Unified School District                                                                                                                Inspector: Dale Hayes

School: Fair View High School (FKA Partridge Elementary School)	Building: E - Classrooms 7-10 (FKA A)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 9" VFT BEIGE | 4 | 1-5% | 4,500 S | CLASSROOMS 7-10, WORK ROOM AND STAFF RESTROOMS | (1) | N |
| S | ACOUSTIC CEILING PLASTER | 5 | 1-5% | 5,000 S | CLASSROOMS 7-10, WORK ROOM, AND STAFF RESTROOMS | (1) | N |

School: Fair View High School (FKA Partridge Elementary School)	Building: G - Classrooms 11-14 (FKA B)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 9" VFT | 4 | 1-5% | 4,500 S | CLASSROOMS 11-14 | (1) | N |
| S | ACOUSTIC CEILING PLASTER | 5 | 1-5% | 5,000 S | ALL CLASSROOMS AND BOTH RESTROOMS | (1) | N N/A |
| S | WALL PLASTER | 31 | ASSUMED | 1,200 S | CUSTODIAL ROOM AND RESTROOMS | (1) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection:__09/30/09__

District:  Chico Unified School District                                                                                                                Inspector: Dale Hayes

School: Fair View High School (FKA Partridge Elementary School)	Building: F - MPR (911) (FKA C)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | PIPE WRAP STRAIGHT | 3 | 70-75% | 150 L | KITCHEN, WATER HEATER ROOM, MPR STORAGE, AND CUSTODIAL ROOM | (1) | N |
| M | 9" VFT | 4 | 1-5% | 6,000 S | MPR, KITCHEN, AND ADMINISTRATION | (1) | N |
| S | ACOUSTIC CEILING PLASTER | 5 | 1-5% | 1,400 S | HALLWAY OUTSIDE MPR | (1) | N |
| T | MUD JOINT | 7 | ASSUMED | 20 JOINTS | KITCHEN, WATER HEATER ROOM, MPR STORAGE, AND CUSTODIAL ROOM | (1) | N |
| M | 12" ACT | 30 | ASSUMED | UNDETERMINED | MPR | (1) | N |
| M | TRANSITE PIPE | 99 | ASSUMED | 6 L | KITCHEN WATER HEATER ROOM | (1) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection:__09/30/09__

District:  Chico Unified School District                                                                                                                Inspector: Dale Hayes

School:  Fair View High School (FKA Partridge Elementary School) 	Building: H - Classroom 17 (FKA D)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | LINOLEUM BEIGE | 10 | NONE DETECTED | 100 S | GIRL’S & BOY’S RESTROOMS | (1) | N/A |
| M | DRYWALL & JOINT COMPOUND | 32 | ASSUMED | 1,800 S | CLASSROOM 17 AND GIRL’S & BOY’S RESTROOMS | (1) | N |
| M | 2' X 4' FCP’S | 65 | NONE DETECTED | 900 S | CLASSROOM 17 | (1) | N/A |
| M | 12" VFT CREAM | 103 | ASSUMED | 600 S | CLASSROOM 17 | (1) (2) (5) MANUFACTURED IN 1987 MANUFACTURER LETTER ON FILE ROOM 17 ENTIRE FLOOR CRACKED | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection:__09/30/09__

District:  Chico Unified School District                                                                                                                Inspector: Dale Hayes

School: Fair View High School (FKA Partridge Elementary School) 	Building: I (FKA D)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | DRYWALL & JOINT COMPOUND | 32 | ASSUMED | 2,500 S | ROOMS 15 & 16 | (1) | N |
| M | 2' X 4' FCP’S | 65 | NONE DETECTED | 1,800 S | ROOMS 15 & 16 | (1) | N/A |
| M | 12" VFT CREAM | 103 | ASSUMED | 240 S | ROOMS 15 & 16 | (1) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection:__09/30/09__

District:  Chico Unified School District                                                                                                                Inspector: Dale Hayes

School:  Fair View High School (FKA Partridge Elementary School) 	Building: J (FKA D)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 2' X 8' ACT WOOD | 50 | NON-SUSPECT | 480 S | SFA TRAILER (916) AND SPEECH TRAILER | DOES NOT EXIST | N/A |
| M | 2' X 4' FCP’S | 65 | NONE DETECTED | 900 S | LIBRARY/COMPUTER ROOM (917) | (1) | N/A |
| M | DRYWALL | 66 | NONE DETECTED | 400 S | COMPUTER ROOM (917) | (1) | N/A |

School:  Fair View High School (FKA Partridge Elementary School)	Building: K - Portables 18 & 19

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | DRYWALL & JOINT COMPOUND | 32 | ASSUMED | 2,500 S | PORTABLES 18 & 19 | (1) | N |
| M | 12" VFT | 51 | ASSUMED | 300 S | PORTABLES 18 & 19 | (1) | N |
| M | 2' X 4' FCP’S | 52 | ASSUMED | 1,800 S | PORTABLES 18 & 19 | (1) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection:__09/30/09__

District:  Chico Unified School District                                                                                                                Inspector: Dale Hayes

School:  Fair View High School (FKA Partridge Elementary School)                                                                                                                                     Building: A - Unit 1

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 2' X 4' FCP’S | 53 | ASSUMED | 900 S | PORTABLE 1 | (1) MANUFACTURED IN 1987 | N |
| M | 12" VFT CREAM | 61 | CERTIFIED NON ASBESTOS | 300 S | PORTABLE 1 - EAST SIDE | (1) LETTER ON FILE | N |
| M | 12" VFT CREAM | 90 | CERTIFIED NON ASBESTOS | 600 S | PORTABLE 1 - WEST SIDE | (1) LETTER ON FILE | N |
| M | LINOLEUM TAN | 100 | CERTIFIED NON ASBESTOS | 60 S | LAUNDRY AND GIRL’S & BOY’S RESTROOMS | (1) LETTER ON FILE | N |
| M | GYPSUM BOARD | 101 | ASSUMED | 300 S | LAUNDRY AND GIRL’S & BOY’S RESTROOMS | (1) | N |
| M | GYPSUM BOARD | 101 | ASSUMED | 2,000 S | PORTABLE 1 | (1) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection:__09/30/09__

District:  Chico Unified School District                                                                                                                Inspector: Dale Hayes

School:  Fair View High School (FKA Partridge Elementary School) 	Building: B - Room  2

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location c | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | ACOUSTIC CEILING PLASTER | 5 | ASSUMED | 1,000 S | ROOM 2 - UNIT B | (1) | N |
| S | WALL PLASTER | 31 | ASSUMED | UNDETERMINED | ROOM 2 - UNIT B | (1) | N |
| M | 9" VFT GREEN | 63 | ASSUMED | 1,000 S | ROOM 2 - UNIT B | (1) | N |

School:  Fair View High School (FKA Partridge Elementary School) 	Building: L - Portable 20

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | DRYWALL & JOINT COMPOUND | 32 | ASSUMED | 1,250 S | PORTABLE 20 | (1) | N |
| M | 2' X 4' FCP’S FIBERGLASS | 54 | NON-SUSPECT | 600 S | PORTABLE 20 | (13) FIBERGLASS MATERIAL | N/A |
| M | 12" VFT WHITE | 62 | ASSUMED | 900 S | PORTABLE 20 | (1) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)    (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS