SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/30/09___

District: Chico Unified School District	Inspector: Dale Hayes

School: Nord Elementary School	Building: A - Administration

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 12" ACT | 1 | NONE DETECTED | 2,500 S | OFFICE (900) AND CLASSROOMS 1 & 2 | - SAMPLE HMS-NES-01 COLLECTED ON 3-29-88. | N/A |
| M | 9" VFT BROWN | 2 | 1-5% | 2,400 S | OFFICE (900) AND CLASSROOM 2 | (11) COVERED WITH CARPET. | N |
| M | 12" VFT TAN | 3 | NON ASBESTOS | 1,200 S | OFFICE (900) AND CLASSROOM 2 | (1) (4) MANUFACTURER LETTER ON FILE MODERNIZATION 1989 | N |
| S | WALL PLASTER | 4 | TRACE | 2,950 S | OFFICE (900), BOYS & GIRLS RESTROOMS (903 & 904), AND STORAGE ROOM (902) | (1) (4) | N |
| M | 2' X 4' FCP | 102 | ASSUMED | 1,500 S | CLASSROOMS 1 & 2 | (1) (4) | N |

School: Nord Elementary School	Building: B - Portable 3 (FKA Portables 3 & 4)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 2' X 4' FCP | 100 | ASSUMED | 900 F | PORTABLE 3 | (1) (12) THIS PORTABLE WAS BROUGHT FROM FOREST RANCH. (NO I.D.) | N |
| M | 12" VFT WHITE | 101 | ASSUMED | 240 S | PORTABLE 3 | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/30/09___

District: Chico Unified School District	Inspector: Dale Hayes

School: Nord Elementary School	Building: C - MPR (FKA B)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 12" ACT | 1 | NONE DETECTED | 1,300 S | MPR (907) | - REPRESENTED BY SAMPLE HMS-NES-01 COLLECTED ON 3-29-01. | N/A |
| S | WALL PLASTER | 9 | 1-5% | 1,000 S | STORAGE ROOM (909) & KITCHEN (908) | (2) (5) DAMAGE ABOVE WINDOW IN STORAGE ROOM | N |
| M | 9" VFT DARK GRAY | 10 | 1-5% | 1,600 S | MPR (907) & KITCHEN (908) | (1) (4) | N |
| M | 9" VFT OLIVE WITH PINK SPOTS | 11 | TRACE | 100 S | MPR (EASTERN SIDE) (907) | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/30/09___

District: Chico Unified School District	Inspector: Dale Hayes

School: Nord Elementary School	Building: D - Portable 4

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | PORTABLE 4 | - THIS PORTABLE HAS BEEN CERTIFIED BY THE DISTRICT. ENTEK DOES NOT CURRENTLY HAVE A COPY OF THE CERTIFICATION LETTER ON FILE. |  |

School: Nord Elementary School	Building: F - Restrooms

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Certified Non-Asbestos |  | PORTABLE Restroom | - THIS PORTABLE HAS BEEN CERTIFIED BY THE DISTRICT. Letter on file. |  |

School: Nord Elementary School	Building: E & G – Portables 6-9

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Non-Asbestos |  | BLDG E PORTABLE CLASSROOMS 6-7 BLDG G PORTABLE CLASSROOMS 8-9 | MANUFACTURER LETTER ON FILE |  |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS