SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Building: A - Administration Office

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | PLASTER | 9 | NONE DETECTED | 1,900 S | COVERED WALK (OUTDOORS) | - SAMPLES HMS-PVH-09A & B COLLECTED ON 3-30-88. RETESTED AS PER CUSD - NO ASBESTOS. | N/A |
| M | 1' X 1' FCP’S | 94 | NONE DETECTED | 300 S | PRINCIPAL’S OFFICE, ASSISTANT PRINCIPAL’S OFFICE, NURSE’S STATION, AND COUNSELING ROOM | (13) CERTIFICATION LETTER ON FILE. SAMPLE II COLLECTED ON 3-21-95. | N/A |
| M | DRYWALL JOINT COMPOUND | 95 | NONE DETECTED | 250 S | STAFF RESTROOMS | (13) CERTIFICATION LETTER ON FILE. SAMPLE EE & FF COLLECTED ON 3-21-95. | N/A |
| M | 3' X 3' FCP’S | 96 | CERTIFIED NON-ASBESTOS | 1,000 S | ATTENDANCE AREA CEILING | (13) CERTIFICATION LETTER ON FILE. | N/A |
| M | 2' X 4' FCP’S | 97 | NONE DETECTED | 650 S | STAFF ROOM CEILING (909) | (13) CERTIFICATION LETTER ON FILE. SAMPLE GG COLLECTED ON 3-21-95. | N/A |
| M | 12" VFT WHITE/BLUE | 100 | CERTIFIED NON-ASBESTOS | 5,000 S | ATTENDANCE AREA, STAFF ROOM (909), ROOM 1, AND HALLWAYS AROUND ATTENDANCE AREA | (13) CERTIFICATION LETTER ON FILE. | N/A |

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Building: B - Rooms 1-10

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | PLASTER | 9 | NONE DETECTED | 1,900 S | COVERED WALK (OUTDOORS) | - SAMPLES HMS-PVH-09A, B, & C, COLLECTED ON 3-30-88. RETESTED AS PER CUSD - NO ASBESTOS. | N/A |
| M | 9" VFT TAN/BROWN | 92 | ASSUMED | 8,500 S | CLASSROOMS 1-10 | (2) REPAIR B-3 & B-10 FRONT DOORS | N |
| M | 1' X 3' FCP’S | 93 | NONE DETECTED | 4,550 S | CLASSROOMS 2-6, 9, & 10 | (13) CUSD SAMPLED ON 3-22-05. | N/A |
| M | 1' X 1' FCP’S | 94 | NONE DETECTED | 1,950 S | CLASSROOMS 1, 7, & 8 | (13) HMS comments in 2004 | N/A |

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Building:  C - Rooms 1-7

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | PIPE WRAP CORNER | 5 | 10-15% | 23 L | ATTIC AREA | (11) | Y |
| S | PLASTER | 8 | NONE DETECTED | 250 S | STUDENT RESTROOMS (924 & 925) | (13) STUDENT RESTROOMS FKA ROOM 18. SAMPLE HMS-PVH-08C COLLECTED ON 3-30-88. | N/A |
| S | PLASTER | 9 | NONE DETECTED | 10,000 S | COVERED WALK (OUTDOORS) | - SAMPLES HMS-PVH-09A & B COLLECTED ON 3-30-88. - RETESTED AS PER CUSD - NO ASBESTOS. | N/A |
| M | 9" VFT TAN/BROWN | 92 | ASSUMED | 6,300 S | CLASSROOMS 1-7 | (2) C-1 FRONT DOOR | N |
| M | 1' X 3' FCP’S | 93 | NONE DETECTED | 6,300 S | CLASSROOMS 1-7 | (13) SAMPLED BY CUSD ON 3-22-05. | N/A |
| M | MOLDED BLACK TABLE TOPS | 99 | ASSUMED | MULTIPLE TABLES | CLASSROOM 3 | (1) (4) ROOM 3 FKA ROOM 20. Painted white | N |
| T | WHITE DUCT TAPE | 151 | ASSUMED | 150 L | ATTIC | (11) | Y |
|  |  |  |  |  |  | NOTE: CERTIFICATION LETTER ON FILE DATED DECEMBER 27, 1994. |  |

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Building: D - Rooms 1-5

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | PIPE WRAP CORNER | 5 | 1-10% | 38 JOINTS | ATTIC AREA | (11) | Y |
| S | PLASTER | 9 | NONE DETECTED | 1,900 S | COVERED WALK (OUTDOORS) | - SAMPLES HMS-PVH-09A & B COLLECTED ON 3-30-88. - RETESTED AS PER CUSD - NO ASBESTOS. | N/A |
| M | 12" VFT WHITE/BLUE | 14 | TRACE | 925 S | CLASSROOM 5 | (1) (4) SAMPLE HMS-PVH-14 COLLECTED ON 3-30-88. | N |
| M | 9" VFT BROWN/WHITE | 91 | ASSUMED | 3,500 S | CLASSROOMS 1-3, CLASSROOM 4-TEACHER’S ROOM | (1) (4) | N |
| M | 1' X 3' FCP’S | 93 | NONE DETECTED | 3,500 S | CLASSROOMS 1-5 | (13) SAMPLE COLLECTED BY CUSD ON 3-22-05. | N/A |
| T | DUCT TAPE WHITE | 150 | ASSUMED | 150 L | ATTIC | (11) | Y |

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Building: E - Rooms 1-3

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T | PIPEWRAP FITTING | 5 | 1-10% | 10 L | ATTIC AREA OF CLASSROOM 3 | - SAMPLES HMS-PVH-09A & B COLLECTED ON 3-30-88. RETESTED AS PER CUSD - NO ASBESTOS. | Y |
| S | PLASTER | 9 | 1-5% | 1,100 S | COVERED WALK (OUTSIDE) | (1) (4) | N |
| M | 2' X 4' FCP’S | 12 | NONE DETECTED | 812 S | DRAFTING ROOM 2 | - SAMPLE HMS-PVH-12 COLLECTED ON 3-30-88. | N/A |
| M | 12" VFT OFF-WHITE | 15 | 1-5% | 812 S | DRAFTING ROOM 2 | (12) Same as material listed below. | N |
| M | 12" VFT WHITE/BLACK | 90 | 2 % | 650 S | CLASSROOM 2 | (1) (4) CUSD sample PVHS01 1/25/08 | N |
| M | TRANSITE WALLBOARD | 98 | ASSUMED | 350 S | CLASSROOM 1 - METAL SHOP | (13) Cannot locate | N |
| M | GYPSUM BOARD & TEXTURE | 101 | ASSUMED | 2,700 S | CLASSROOMS 1-3 | (1) (4) | N |

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Buildings: F - Girl’s (938) & Boy’s (943) Locker Rooms

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | PLASTER | 8 | NONE DETECTED | 3,200 S | GIRL’S LOCKER ROOM (938), BOY’S LOCKER ROOM (943), AND RESTROOMS (940 & 942) | - SAMPLES HMS-PVH-08D, 08E, & 08G COLLECTED ON 03-30-88. | N/A |
| S | PLASTER | 9 | None detected | 2,500 S | COVERED WALK (OUTDOORS) | - SAMPLES HMS-PVH-09A & B COLLECTED ON 3-30-88. RETESTED AS PER CUSD - NO ASBESTOS. | N |
| T | DEBRIS & PIPEWRAP CORNER | 18 | 15-20% | DEBRIS 200 S 23 JOINTS | ATTIC (ACCESS IN STOREROOM) | - COULD NOT ACCESS THIS AREA. | Y |
| M | DRYWALL | 87 | ASSUMED | 300 S | SNACK BAR (941) | (1) (4) | N |
| M | 12" VFT WHITE/BROWN | 88 | ASSUMED | 600 S | BOY’S AND GIRL’S LOCKER ROOM OFFICES | (1) (4) | N |

School: Pleasant Valley High School 	Buildings: G - East Gym (933)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | PLASTER | 9 | None detected | 2,500 S | COVERED WALK (OUTDOORS) | - SAMPLES HMS-PVH-09A & B COLLECTED ON 3-30-88. RETESTED AS PER CUSD - NO ASBESTOS. | N |
| M | 12" ACT | 89 | ASSUMED | 3,500 S | EAST GYM (933) | (1) (4) | N |

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Building: H - West Gym (948)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | PLASTER | 9 | None Detected | 355 S | COVERED WALK (OUTDOORS) | - SAMPLES HMS-PVH-09A & B COLLECTED ON 3-30-88. RETESTED AS PER CUSD - NO ASBESTOS. | N |

School: Pleasant Valley High School 	Building: J - J1-J7

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | DRYWALL & JOINT COMPOUND | 77 | CERTIFIED NON-ASBESTOS | 3,500 S | CLASSROOMS J1-J7 | (13) CERTIFICATION LETTER ON FILE. | N/A |
| M | 2' X 4' FCP’S | 78 | CERTIFIED NON-ASBESTOS | 6,300 S | CLASSROOMS J1-J7 | (13) CERTIFICATION LETTER ON FILE. | N/A |
| M | 12" VFT | 79 | CERTIFIED NON-ASBESTOS | 6,300 S | CLASSROOMS J1-J7 | (13) CERTIFICATION LETTER ON FILE. | N/A |

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Building: M - Rooms 1-11

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | DRYWALL | 75 | CERTIFIED NON-ASBESTOS | 1,000 S | ELECTRICAL ROOM AND BOOKS | (13) CERTIFICATION LETTER ON FILE. | N/A |
| M | 2' X 4' FCP’S | 76 | CERTIFIED NON-ASBESTOS | 10,000 S | CLASSROOMS 1-11 AND TEACHERS ROOM | (13) CERTIFICATION LETTER ON FILE. | N/A |
| M | 12" VFT WHITE/GRAY | 80 | CERTIFIED NON-ASBESTOS | 600 S | CLASSROOMS 1-11, ELECTRICAL ROOM, BOOKS, AND TEACHER ROOM | (13) CERTIFICATION LETTER ON FILE. | N/A |

School: Pleasant Valley High School 	Building: O - Rooms 1-6

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 2' X 4' FCP’S | 81 | CERTIFIED NON-ASBESTOS | 3,500 S | CLASSROOMS 1A, 1B, AND 2-6 | (13) CERTIFICATION LETTER ON FILE. | N/A |

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Building: P - Rooms 1-4

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 2' X 4' FCP’S | 81 | CERTIFIED NON-ASBESTOS | 3,600 | CLASSROOMS 1-4 | (13) CERTIFICATION LETTER ON FILE. | N/A |

School: Pleasant Valley High School 	Building: S - Rooms 1-8

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | PLASTER | 82 | CERTIFIED NON-ASBESTOS | 500 S | CUSTODIAN OFFICE (963) | (13) CERTIFICATION LETTER ON FILE | N/A |
| M | 12" VFT | 83 | CERTIFIED NON-ASBESTOS | 500 S | CUSTODIAN OFFICE (963) | (13) CERTIFICATION LETTER ON FILE | N/A |
| M | DRYWALL | 84 | CERTIFIED NON-ASBESTOS | 1,200 S | STAFF RESTROOMS (964, 964, 960, & 961) AND GIRL’S & BOY’S RESTROOM (962) | (13) CERTIFICATION LETTER ON FILE | N/A |
| M | 2' X 4' FCP’S | 85 | CERTIFIED NON-ASBESTOS | 8,000 S | CLASSROOMS 1-8 | (13) CERTIFICATION LETTER ON FILE | N/A |
| M | 12" VFT WHITE/GRAY | 86 | CERTIFIED NON-ASBESTOS | 8,000 S | CLASSROOMS 1-8 | (13) CERTIFICATION LETTER ON FILE | N/A |

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Building: L - Library

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | (13) THE LIBRARY WAS CONSTRUCTED IN 1994. CERTIFICATION LETTER ON FILE DATED DECEMBER 27, 1994. | N/A |

School: Pleasant Valley High School 	Building: T - Student Store - Vending Machines

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | DRYWALL & JOINT COMPOUND | 72 | CERTIFIED NON-ASBESTOS | 320 S | STUDENT STORE (937) | (13) CERTIFICATION LETTER ON FILE. | N/A |
| S | PLASTER | 73 | CERTIFIED NON-ASBESTOS | 225 S | VENDING AREA | (13 CERTIFICATION LETTER ON FILE. | N/A |
| M | LINOLEUM YELLOW/BROWN | 74 | CERTIFIED NON-ASBESTOS | 550 S | VENDING AREA AND STUDENT STORE (937) | (13 ) CERTIFICATION LETTER ON FILE. | N/A |

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: ___10/01/09_______

District: Chico Unified School District	Inspector: Dale Hayes

School: Pleasant Valley High School 	Building: V - Rooms 1 & 928-932

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 12" ACT | 72 | ASSUMED | 1,200 S | NORTH & SOUTH ENDS OF VALHALLA CEILING (929) | (2) (12) THE DISTRICT MUST CERTIFY AS NON ASBESTOS CONTAINING BUILDING MATERIAL. NEEDS PAINT TO ENCAPSULATE | N |
| M | 9" VFT WHITE/BROWN | 73 | ASSUMED | 5,000 S | VALHALLA AREA (929) AND ROOM 1 (MUSIC ROOM) | (1) (12) THE DISTRICT MUST CERTIFY AS NON ASBESTOS CONTAINING BUILDING MATERIAL. | N |
| S | PLASTER | 74 | ASSUMED | 5,800 S | GIRL’S & BOY’S RESTROOMS (930 & 932), VALHALLA CEILING (929), AND KITCHEN WALLS (928) | (1) (12) THE DISTRICT MUST CERTIFY AS NON ASBESTOS CONTAINING BUILDING MATERIAL. | N |
|  |  |  |  |  |  | NOTE: CUSD SAYS, THIS BUILDING WAS ONSITE DURING THE ORIGINAL INSPECTION. |  |