SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/28/09________

District: Chico Unified School District	Inspector: Dale Hayes

School: Sierra View Elementary School	Building: Unit A (FKA H)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | DRYWALL | 93 | ASSUMED | 1,250 S | CLASSROOM 1 | (11) EXISTS BEHIND TAGBOARD. | N |
| M | 2' X 4' FCP | 99 | ASSUMED | 960 S | CLASSROOM 1 | (1) (4) | N |

School: Sierra View Elementary School	Building: Unit B (FKA F)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | PLASTER | 3 | 1-5% | 400 S | SPEECH ROOMS | (1) (4) | N |
| M | 9" VFT GREEN | 14 | 1-5% | 4,000 S | CLASSROOMS 2-5 AND SPEECH ROOMS | - MODERNIZATION PROJECT 1997 NEEDS REPAIR IN ROOM 295 BY DOORS | N |
| M | TRANSITE PANELS | 83 | ASSUMED | 25 PANELS | UNDER WINDOWS THROUGHOUT BUILDING | (1) (4) | N |
| M | 12" ACT | 17 | ASSUMED | 4,000 S | CLASSROOMS 2-5 AND SPEECH ROOMS | (1) (4) | N |
| M | 4" COVE BASE BLACK | 157 | ASSUMED | 600 LF | CLASSROOMS 2-5 AND SPEECH ROOMS | (1) (4) | N |
| M | 9" VFT GREY | 158 | ASSUMED | 400 S | SPEECH ROOMS | (1) (4) MODERNIZATIN PROJECT 1997 | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/28/09________

District: Chico Unified School District	Inspector: Dale Hayes

School: Sierra View Elementary School	Building: Unit C (FKA H)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 12" ACT | 97 | ASSUMED | 600 S | LIBRARY (902) | (1) (4) | N |

School: Sierra View Elementary School	Building: Unit D (FKA E)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | PLASTER | 3 | 1-5% | 500 S | CUSTODIAN CLOSET (904) | (1) (4) | N |
| T | MUD JOINT | 12 | 60-65% | 30 L | BOILER ROOM (906) | (1) (4) | Y |
| M | DRYWALL & JOINT COMPOUND | 150 | ASSUMED | 1,000 S | BOY’S (907) & GIRL’S (905) RESTROOMS | (1) (4) | N |
| T | BOILER TSI | 156 | ASSUMED | 1 EACH | BOILER ROOM (906) | (1) (4) | Y |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/28/09________

District: Chico Unified School District	Inspector: Dale Hayes

School: Sierra View Elementary School	Building: Unit E (FKA H)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | DRYWALL | 93 | ASSUMED | 1,700 SF | CLASSROOMS 6 & 7 | (11) EXISTS BEHIND TAGBOARD. | N |
| M | 12" VFT | 94 | NON ASBESTOS | 120 S | CLASSROOM 6 | (1) (4) MODERNIZATION PROJECT 1997 MANUFACTURER LETTER ON FILE | N |
| M | 2' X 4' FCP | 99 | ASSUMED | 960 S | CLASSROOM 6 & 7 | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/28/09________

District: Chico Unified School District	Inspector: Dale Hayes

School: Sierra View Elementary School	Building: Unit F (FKA G)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | PLASTER | 3 | 1-5% | 400 S | PIP ROOM (909) AND NURSES ROOM | (1) (4) | N |
| M | 9" VFT GREEN | 14 | 1-5% | 4,000 S | CLASSROOMS 8-11 | (1) ROOM 9 NEEDS REPAIR BY DOOR (7) (5) REMOVED IN PIP ROOM. | N N/A |
| M | TRANSITE PANELS | 83 | ASSUMED | 25 PANELS | UNDER WINDOWS THROUGHOUT BUILDING | (1) (4) | N |
| M | 12" ACT | 97 | ASSUMED | 4,000 S | CLASSROOMS 8-11 | (1) (4) (2) RM 1O 4” COVE REAR DOOR CHIPPED, VCT WATER STAINS | N |
| M | LINOLEUM | 100 | ASSUMED | 50 S | RESTROOM (908) | (1) UNABLE TO LOCATE. | N |
| M | 9" VFT GREY | 170 | ASSUMED | 400 S | PIP ROOM (909) AND NURSES ROOM | (1) (5) NEEDS REPAIR BY FRONT DOOR | N |
| M | 4" COVE BASE BLACK | 171 | ASSUMED | 480 LF | CLASSROOMS 8-11 | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/28/09________

District: Chico Unified School District	Inspector: Dale Hayes

School: Sierra View Elementary School	Building: Unit G (FKA D)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | PLASTER | 3 | 1-5% | 1,200 S | KITCHEN (912), KITCHEN STORAGE (910), AND MPR CHAIR STORAGE | (1) (5) (2) SMALLHOLENEAR EXTINGUISHER (2) UNDER PHONE | N |
| T | PIPE WRAP | 8 | 15-20% | 13 L | HOT WATER ROOM (911) | (2) (4) UNCAPPED ENDS. | Y |
| M | TRANSITE PIPE FLUE | 98 | ASSUMED | 20 L | HOT WATER ROOM | (1) (4) | Y |
| M | LINOLEUM WHITE | 152 | ASSUMED | 50 S | KITCHEN RESTROOM | (1) (4) | N |
| M | DRYWALL | 153 | ASSUMED | UNDETERMINED | OFFICES AND MPR (913) CEILINGS | (1) (4) | N |
| M | 12" VFT WHITE/BLUE | 154 | None Detected | 3,500 S | OFFICE HALLWAY & MPR (913) | (13) CUSD Sample SV01 on 6/1/07 | N |
| M | 12" ACT | 155 | ASSUMED | 2,000 S | OFFICE HALLWAY CEILING, ALL THREE OFFICES (914-916), AND MPR (913) | (1) (4) (2) ACT LOOSE OUTSIDE ROOM 913 AND 923 | N |
| M | LINOLEUM TAN | 159 | ASSUMED | 500 S | KITCHEN (912) | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/28/09________

District: Chico Unified School District	Inspector: Dale Hayes

School: Sierra View Elementary School	Building: Unit H (FKA C)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | TRANSITE PANELS | 83 | ASSUMED | 4,500 S | STAFF ROOM (917) & CLASSROOMS 13-16 | (1) (4) | N |
| M | 12" VFT BLUE/WHITE | 94 | None Detected | 720 S | STAFF ROOM (917) & CLASSROOMS 13-16 | (13) CUSD Sample SV01 on 6/1/07 | N |
| M | 2' X 4' FCP | 150 | ASSUMED | 3,600 S | STAFF ROOM (917) & CLASSROOMS 13-16 | (1) (4) | N |
| M | LINOLEUM | 151 | ASSUMED | 100 S | MEN’S (918) & WOMEN’S (918A) RESTROOMS | (1) (4) | N |
| M | 12" ACT | 160 | ASSUMED | 600 S | CLASSROOMS 13-16 | (1) (4) (6) LOOSE TILES ROOM 14 | N |
| M | 4" COVE BASE GREY | 161 | ASSUMED | 480 S | CLASSROOMS 13-16 | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/28/09________

District: Chico Unified School District	Inspector: Dale Hayes

School: Sierra View Elementary School	Building: Unit I (FKA C)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 2' X 4' FCP | 95 | ASSUMED | 1,920 S | CLASSROOMS 12 & 17 | (1) (4) | N |
| M | 12" VFT WHITE | 110 | NON ASBESTOS | 250 S | CLASSROOM 12 | (1) (4) MODERNIZATION 1997 MANUFACTURER LETTER ON FILE | N |
| M | 12" VFT | 162 | NON ASBESTOS | 480 S | CLASSROOMS 12 & 17 | (1) (4) MODERNIZATION 1997 MANUFACTURER LETTER ON FILE | N |
| M | DRYWALL | 163 | ASSUMED | 1,000 S | CLASSROOMS 12 & 17 | (11) DRYWALL EXISTS BEHIND TAGBOARD. | N |

School: Sierra View Elementary School	Building: Unit J (FkA A)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S | WALL PLASTER | 4 | ASSUMED | 1,000 S | GIRL’S (922) & BOY’S (919) RESTROOM & CUSTODIAN CLOSET (920) | (1) (5) BAD AREA OVER BOYS OUTER DOOR | N |
| T | HARD PACKED TSI FLUE ENCASED WITH METAL | 98 | ASSUMED | 12 L | BOILER ROOM (921) | (1) (4) | Y |
| M | DRYWALL | 164 | NON ASBESTOS | 1,000 LF | BOY’S (919) & GIRL’S (922) RESTROOMS | (7) Replaced per CUSD Records | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/28/09________

District: Chico Unified School District	Inspector: Dale Hayes

School: Sierra View Elementary School	Building: Unit K (FKA B)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | TRANSITE PANELS | 83 | ASSUMED | 16 PANELS | UNDER WINDOWS THROUGHOUT BUILDING | (1) (4) | N |
| M | 12" VFT BLUE/WHITE | 94 | None Detected | 720 S | WORKROOM (923) & CLASSROOMS 18-21 | (13) CUSD Sample SV01 on 6/1/07 | N |
| M | LINOLEUM | 100 | ASSUMED | 50 S | RESTROOM (916) HEALTH ROOM | (1) | N |
| M | 2' X 4' FCP | 150 | ASSUMED | 3,600 S | CLASSROOMS 18-21 | (1) (2) RMS 18, 19, 20 | N |
| M | 12" ACT | 165 | ASSUMED | 800 S | CLASSROOMS 18-21 AND WORKROOM (923) | (1) (4) | N |
| M | 4" COVE BASE GREY | 166 | ASSUMED | 480 LF | CLASSROOMS 18-21 | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/28/09________

District: Chico Unified School District	Inspector: Dale Hayes

School: Sierra View Elementary School	Building: Unit L (FKA I)

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | CERAMIC TILE | 102 | ASSUMED | 200 S | RESTROOMS (926A & B AND 927A & B) | (1) (4) | N |
| M | 12" VFT WHITE/BLUE | 105 | None Detected | 1,200 S | CLASSROOMS 22 & 23 AND WORKROOM (925) | (13) CUSD sample S01 on 6/1/07 | N |
| M | 2' X 4' FCP | 106 | ASSUMED | 2,400 S | CLASSROOMS 22 & 23 AND WORKROOM (925) | (1) (4) | N |
| M | 4" COVE BASE GREY | 167 | ASSUMED | 280 L | CLASSROOMS 22 & 23 | (1) (4) | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS

SIX MONTH SURVEILLANCE

HOMOGENEOUS ACBM RECORDS

Date of Inspection: __09/28/09________

District: Chico Unified School District	Inspector: Dale Hayes

School: Sierra View Elementary School	Building: Unit M - Portables 24, 25, & 26

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | 12" VFT | 86 | None Detected | 720 S | PORTABLE CLASSROOMS 24-26 (NEXT TO SINKS) | (1) (4) SOME CRACKS IN CLASSROOM 25 & 26. (13) CUSD sample 3/22/05 MODERNIZATION 1997 | N |
| M | DRYWALL | 87 | ASSUMED | 1,400 S | BOY’S (928) & GIRL’S (929) RESTROOMS, & PORTABLE CLASSROOMS 24-26 | (1) (4) DRYWALL COULD BE BEHIND THE TAGBOARD IN PORTABLES 24-26. | N |
| M | LINOLEUM YELLOW | 88 | ASSUMED | 600 S | GIRL’S RESTROOM (929) | (1) (4) THESE RESTROOMS ARE ADJACENT TO PORTABLE 26. | N |
| M | 2' X 4' FCP | 89 | ASSUMED | 3,000 S | PORTABLE CLASSROOMS 24-26 | (1) (4) THESE UNITS WERE MANUFACTURED IN 8-89. | N |
| M | LINOLEUM WHITE | 168 | ASSUMED | 600 S | BOY’S RESTROOM (928) | (1) (4) | N |

School: Sierra View Elementary School	Building: Unit N - Portable 27

| Material Class | Material | Homo. Mat. # | % Asb. | Ft2/L.F. | Location | Condition: Code & Comments | Friable Yes/No |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M | DRYWALL | 84 | ASSUMED | 900 S | CLASSROOM 27 | (1) (4) | N |
| M | 2' X 4' FCP FIBERGLASS | 85 | NON-SUSPECT | 900 S | CLASSROOM 27 | (13) | N |
| M | 12" VFT GREY | 169 | NON ASBESTOS | 180 S | CLASSROOM 27 | (1) (4) MODERNIZATION 1997 MANUFACTURER LETTER ON FILE | N |

CONDITION CODE

General Condition:	(1) Good	(2)  Damaged	(3)  Significantly Damaged (25% or more)

Change in Condition:	(4) No		(5)  Yes (If Yes, explain under comments)

Abated:		(6) Repaired	(7)  Removed	(8)  Encapsulated	(9)  Enclosed   	(10) Isolated & Restricted

Miscellaneous:		(11) Inaccessible, no inspection data	    (12) Other (Explain under comments)   	 (13) Non-Asbestos/Not Inspected

CONSULT ORIGINAL AND SUPPLEMENTARY INSPECTION REPORTS FOR MATERIALS WITH TRACE AMOUNTS OF ASBESTOS